**Module 3 Activity Worksheet 15**

Where current-carrying capacity is selected in accordance with AS/NZS 3008: Part 1.2, what is the reference ambient temperature for cables:

|  |
| --- |
| 1. In air, irrespective of installation method, for New Zealand? |
| 1. Buried direct in the ground or installed in underground enclosures, for NZ? |

With reference to AS/NZS3000 Section 3.3, list four steps you could take to protect wiring systems against the effects of heat from external sources.

|  |
| --- |
|  |
|  |
|  |
|  |

|  |
| --- |
| What are some examples of solid foreign bodies that could enter an installation system? |

|  |
| --- |
| **According to** AS/NZS3000 Section 3.3, what precaution should be taken to reduce the possibility of galvanic corrosion in an installation? |